# WMA Identifier Application

#### Work Notes

## Some images with and without artifacts for evaluation

Case 314 was reconstructed nominally and with interpolation every 2,3,4 and 5 lines.

Saved at: “E:\Windmill\DATA for Scorer”

## The scorer should run in a different thread than the GUI – 4/2/23

And update only to the latest image position…

## Try Some real progress – 4/2/23

1. Scores are displayed as shared memory
   1. Next: set columns to 3 and show 2 additional intermediary images.
   2. Focus window of shared memory around point with artifact
2. Get position broadcast from ImageR
   1. Try to compute score on leafing
   2. Show location of score on all images

## Resume work – 3/2/23

First work on WMAS – make it usable.

Goals:

1. Add shared memory to display scoring data - done
2. Find directed diff on all 4 directions
   1. Create new class for directed diff
3. Make WMAS follow leafing in ImageR – and update scores accordingly
   1. Can it be real time?
4. Show scores as graphics on all current images
   1. Identify area of artifact
5. Make WMAS check whole volume and show highest scores

## Give score to area with highest level of Smoothed Directed Amplitude – 24/1/23

Try to use just “max” after smooth…

It seems to give reasonable score for “image 127”.

## Prefer areas with consistent directed diff – 24/1/23

Define “consistency range” – try multiplication factor of [1/2 – 2]

Check how many values within range in 5\*5 bounds pixels – and multiply by it.

What is the input for this “consistency”?

Try using Dir-Amp before smooth…

Seems to work well!

## Mask strong edges – 24/1/23

Compute edge-score for each pixel. Smooth it.

Mask areas with strong edge in original Diff.

Masking strong edges do great service to distinguish relevant edges!

## Find local direction with amplitude – 23/1/23

Try:

Dir Amplitude =

if (current dir) diff amplitude \* 2

if (neighbor dir) diff amplitude

if (vert dir) - diff amplitude

Combine Dir Amp image for same direction for pos and neg

Smooth it for 3\*3, 5\*5, etc.

#### Conclusion –

It is pretty good –

But still now strong diffs, even after zoom, take precedent.

Better to identify relatively large areas with “constant” level of directed diffs –

More computations can be applied to peak areas in the smoothed directed noise.

Also, may mask or reduce effect of area with strong edges in the original image…

## Find local direction of diff around any point – 23/1/23

Working (initially) only for points that are local high…

Work in 5\*5 square around the point.

In the outer pixels there are 18 pixels – 9 pairs of opposite pixels.

Choose the pair with highest lower pixel.

Give index in the range [1-9] to the central pixel.

Do it for positive and negative separately.

#### Correction

Start with 3\*3 square, there are 4 possible directions, give them scores in the range [1-4].

## Separate negative and positive diff – 23/1/23

Separation is working…

## Compute WMA specific score – 16/1/23

Some ideas:

1. Look for consistent diff – clip every diff down to the average of its 2 closest neighbors
2. Look for area where both positive and negative diff is high

## Let scorer give initial scores – 15/1/23

It may be average abs diff 🡪 It works.

## Start working on Windmill Scorer – 14/1/23

New class to load files – CmultiDataF in ImageRLib.

Now take the two current images and give some score and region definition.

## Demo App problem – 14/1/23

1. C:\Program Files (x86)\Microsoft Visual Studio\2019\
2. Professional\MSBuild\Microsoft\VC\v160\Microsoft.CppBuild.targets(1008,11): error MSB4006: There is a circular dependency in the target dependency graph involving target "GetReferencedVCProjectsInfo".

## Very initial scorer functionality – 14/1/23

1. Load 2 volumes
2. Remember loaded volumes for next run
3. Display volumes with ImageR
4. For current image (as selected in ImageR)
   1. Compute Diff
   2. Look for areas with big difference
   3. Show these areas on ImageR
   4. Compute and Display score

## New application started – 13/1/23

The new application is in “D:\SW\WindmillScorer”

It is also in GITHUB at [git@github.com:YoavHaifa/WindmillScorer.git](mailto:git@github.com:YoavHaifa/WindmillScorer.git)

Prepare special design doc…

## Basic Wanted Functionality – 8/1/23

1. Load 2 images volumes
   1. High Resolution
   2. Low resolution
2. Identify WMA
3. Score by severity
4. Work both with GUI and as command-line